## Slide 1: Reducing Biomedical Device Risk Without Disrupting Clinical Workflow Is Feasible
Authentication- and monitoring-focused controls aligned to NIST CSF 2.0
Abdalla Ismail · CYBR-698 · Dec 2025 · github.com/Abdi6191/capstone-reproducibility
Notes: This project demonstrates that hospitals can reduce biomedical device cyber risk using targeted authentication and monitoring controls—without interfering with patient care.

## Slide 2: Biomedical devices remain a high-risk blind spot
Vendor-controlled patching leaves devices exposed for extended periods
  Shared credentials and weak authentication persist in clinical environments
  Patient safety risk rises when security controls are avoided to protect workflow
Notes: Security is deprioritized for biomedical devices due to workflow and vendor constraints. This risk gap is persistent and operational, not theoretical.

## Slide 3: Prior research supports compensating controls over patching
FDA (2025): Patching delays are systemic for connected medical devices
  HSCC (2024): Compensating controls required when OEM timelines dominate
  Cobrado et al. (2024): Context-aware authentication improves usability
Notes: These sources converge: when patching fails, authentication and monitoring are the safest, least disruptive levers. Full citations appear in the report and notes.

## Slide 4: Risk is evaluated through reproducible execution artifacts
Flow: Synthetic device logs → Reproducible script → Metric output → Control alignment
  Measures: Account-Monitored Execution Rate
  Measures: Artifact presence and authentication enforcement consistency
Notes: Reproduce this: run `python src/run.py`. The script generates observable outputs used directly for measurement and standards traceability.

## Slide 5: Design is anchored to CSF and Zero Trust principles
CSF PR.PS-02 (Appendix A, p.24): “Software is maintained, replaced, and removed commensurate with risk.”
  How satisfied: Compensating authentication and monitoring controls mitigate delayed patching risk
  Zero Trust Tenet (SP 800-207, p.14): “All data sources and computing services are considered resources.”
  How satisfied: Biomedical devices are treated as managed, monitored resources
Notes: Quote PR.PS-02 and the ZTA tenet verbatim here with page numbers. These anchors justify the design choice to shift risk reduction from patch timing to observability.

## Slide 6: Operational safeguards limit harm and misuse
Ethics: Fully synthetic logs; no PHI, no real device identifiers
  Data handling: Encrypted storage, limited retention, version-controlled repo
  Supplier risk: Vendor patch dependency mitigated via monitoring controls
Notes: All risks are bounded and documented. See ETHICS.md, DMP.md, and docs/cscrm_note.md for controls, retention, and supplier-risk mitigations.

## Slide 7: Risk reduction is measurable and traceable
SMART metrics: Account-Monitored Execution Rate; Artifact Presence Rate; Auth Enforcement Coverage
  Traceability: Risk → 800-171r3 03.01.01 → Metric → docs/metric.txt
Notes: Assessment reference: 171A A.03.01.01.e. Evidence is the generated metric file produced by the reproducible run.

## Slide 8: This work moves CSF outcomes from ad-hoc to defined
Outcome: PR.PS-02
  Current: Inconsistent patching; limited monitoring of biomedical device execution
  Target: Defined compensating controls with reproducible, auditable evidence
  CSF text (Appendix A, p.24): “Software is maintained, replaced, and removed commensurate with risk.”
Notes: This slide demonstrates measurable movement from Current to Target for PR.PS-02. The outcome text is quoted verbatim with the official CSF page number.